## Feuil1
Update: | 2025-03-11
ID | Model | Generation | FirmWare | Last Review | Pictures |  |  | Comments | Status
191 | Sopranino | [7 empty] | IDMIL
193 | Sopranino | 4 | TBC |  | #VALUE! | #VALUE! | #VALUE! | turns on as 001 flow of OSC messages very slow ~1/s button and switch don't seem to do anything works only when plugged | Location unknown
194 | Sopranino | 4 | TBC | 2024-08-31 | #VALUE! | #VALUE! | #VALUE! | Unclear which if for on/off or charging (switch or button) No light turning on, no OSC message received hear a loose piece inside | Location unknown
308 | Sopranino | 4 | TBC | 2024-08-31 | #VALUE! | #VALUE! | #VALUE! | Several capsense tend to stay stuck Capsense # 16 never turn on shake values can go from ~0.8 to > 200 jabs triggered at the slightest movement | Location unknown
311 | Sopranino | 4 | TBC |  | #VALUE! | #VALUE! | #VALUE! |  | IDMIL
315 | Soprano | ? | [5 empty] | USB connection is loose need reflash? Needs to be plugged to work | IDMIL
500 | Sopranino | 5 | [5 empty] | button doesn't work Oren's haptic T-Stick? | IDMIL
514 | Sopranino | 5 |  |  | #VALUE! | #VALUE! |  | Turns off for ~5s when strongly shaken… Needs maintenance | IDMIL
516 | [7 empty] | FSR doesn't work capsense values up to 1000+??? | IDMIL
517 | Sopranino | 5 | [5 empty] | Don't know if it can be glued back | Borrowed by GM
555 | Sopranino | 5 | [5 empty] | seems ok… | IDMIL
566 | Sopranino | 5 | [5 empty] | Capsense doesn't work | Location unknown
569 | Sopranino | 5 | [5 empty] | doesn't turn on | IDMIL
588 | [7 empty] | unlabeled prototype | IDMIL